## Slide 1
Cold Finger
(0, 0, 0) Origin= Rotation Axis
(0, 0, -65.7 mm) detector_center
(0, 0, -121.6 mm) coldPlate_center
175.1 mm
86.4 mm
25.4 mm
8.0 mm
17 mm
(0, 0, -28.85 mm) topHat_center
(0, 0, -22.5 mm)
Point in simulation
Point just for clarity
(0, 0, -108.9 mm)
y
z
x out of page
Important Points in Simulation
(ICPC Detector)
(0, 3.5 mm * cos(90 + ), 3.5 mm *sin(90 + )) source_position
1 mm

## Slide 2
Cold Finger
(0, 0, 0) Origin
(0, 0, -65.7 mm) detector_center
(0, 0, 3.5 mm) source_position
(0, 0, -121.6 mm) coldPlate_center
175.1 mm
86.4 mm
25.4 mm
8.0 mm
17 mm
(0, 0, -22.5 mm)
LMFE (not included in sim!)
7 mm
3.57 mm
15.5 mm
2 mm
Point in simulation
Point just for clarity
(0, 0, -108.9 mm)
9.5 mm
(0, 0, -28.85 mm) topHat_center
y
z
x out of page
Clearances with LMFE
(ICPC Detector)
48.7 mm
4.5 mm

## Slide 3
(0, 0, 0) Origin
(0, 3.5 mm * cos(90 + ), 3.5 mm *sin(90 + )) source_position
(0, 0, -22.5 mm)
LMFE (not included in sim!)
7 mm
3.57 mm
15.5 mm
2 mm
Point in simulation
Point just for clarity
> 0
9.5 mm
Source Rotation rotate about x-axis
y
z
x out of page
18.87 mm
Longest distance for clearance
16.03 mm
(second) Longest distance for clearance
8.6 mm

## Slide 4
ICPC ditch
delta_y_ditch = 2 mm/tan()
(0, 0, 0) Origin
y
z
x out of page
Longest distance for clearance
Coords. of source activity:
(0, source_yPos, source_zPos)
Rotation axis; (x, y, z) of “sourceRotationVolume”
y_final
delta_y_source = 4.5 mm * cos (90+)
axis_yPos
source_yPos
22.5 mm
y = 13 mm
y = 16 mm
Figure corresponding to positionCalc() function in /CAGE/sims/source_placement.py
P+ contact
PPM natGe ICPC
delta_y_rotation = 22.5/tan()
ditch_depth = 2mm
y_det
(= y_final when not in ditch)
18.87 mm

## Slide 5
Original unit vector of source activity in run macro
/gps/pos/rot2 0 1 0
/gps/pos/rot2 0 cos() sin()
New unit vector of source activity in run macro
When at non-normal incidence
Continued from previous slide! How to rotate source activity in run macro using rotation matrices
We rotate about x-axis: always /gps/pos/rot1 1 0 0
Figure also corresponding to source_placement.py

## Slide 6: OPPI

## Slide 7
Cold Finger
(0, 0, 0) Origin= Rotation Axis
(0, 0, -85.7 mm) coldPlate_center
175.1 mm
25.4 mm
8.0 mm
17 mm
Point in simulation
Point just for clarity
y
z
x out of page
Important Points in Simulation
(OPPI Detector)
(0, 3.5 mm * cos(90 + ), 3.5 mm *sin(90 + )) source_position
(0, 0, -50.5 mm) detector_center
51 mm
(0, 0, 9.55 mm) topHat_center
(0, 0, -22.0 mm)
(0, 0, -73.0 mm)
Not to scale!
1 mm

## Slide 8
This is with the view rotated to 17.92 degrees, looking along the LMFE
The source is also translated to 10 mm
The rotational position of the LMFE is nominally at <rotation name="OPPI1_diving_board_volume_Rotation" z=”(180-17.92)" unit="deg"/> (see sims_rotaryRotation.pptx for details)
22.0 mm
(0, 0, 0)
3.0 mm
ring_height
LMFE Placement